Please Note:

This template is intended for educational purposes only, without any express or implied warranty of any kind, including warranties of accuracy, completeness, or fitness for any particular purpose.  You agree that your use of the template is without any recourse whatsoever to PG&E, SCE, SDG&E, or their affiliates. The template is a draft, and anyone using this document should seek the advice of an attorney to develop appropriate ordinance language to meet its jurisdiction’s specific needs, as state and local laws may differ.

This document is the product of a collaborative effort, incorporating input and feedback from several entities and experts based on their collective experiences.

Please contact the Codes and Standards Reach Codes Team at info@LocalEnergyCodes.com for additional information.

This program is funded by California utility customers and administered by Pacific Gas and Electric Company, San Diego Gas & Electric Company (SDG&E®), and Southern California Edison Company under the auspices of the California Public Utilities Commission and in support of the California Energy Commission.

Model Ordinance Language for Air Conditioning Alterations, Replacements and Installations in Existing Single-Family Buildings

(Part 6)

Version 1.2

September 24, 2025

Table of Contents

Changes from Prior Versions	1

Scope	1

Introduction	1

Additional Resources	2

Model Ordinance	3

Findings	3

Sample Amendments	5

Other Sample Ordinance Sections	12

# Changes from Prior Versions

Changes since Version 1.0, August 2025

- Updated links to resources.

- Corrected typo in section numbering and removed erroneous sentence in 150.2(b)3.

# Scope

- Existing single-family buildings in which an existing air conditioning system is altered or replaced or where an air conditioning system is added, must either install a heat pump as the primary heating source or make other energy conservation improvements.

# Introduction

This model ordinance language supports a reach code requiring that a project in a single-family home involving replacement or alteration of an existing air conditioning system or installation of a new air conditioning system in an existing home must either include a heat pump space heater as the primary heating system or install other energy conservation measures. The ordinance amends the California Energy Code (Part 6) based on the requirements in the 2025 California Green Building Standards Code (CALGreen) Section A4.204.

Amendments to the State Code appear in strikeouts (deletions) and underlines (additions). Such amendments require that the governing body of the local jurisdiction make express findings, including a CEQA determination, and cite the authorities used to adopt the ordinance. Refer to the Guide for Local Amendments to Building Standards for more information. In addition to the requirements specified in the Guide, the California Energy Commission requires that the findings include a statement to the effect that the local governmental agency’s governing body has, at a public meeting, adopted its determination that the standards are cost-effective.

Amendments to the Energy Code must be approved by the California Energy Commission (CEC).  All amendments to the Building Code must be filed with the California Building Standards Commission.

Jurisdictions may wish to modify elements of the ordinance, such as those marked with the text “[Optional]”.  When modifying the language, ensure all references are maintained and that the ordinance still meets the State requirements.

The headings, footnotes and instructions (in blue) are for staff reference and should be removed from the final ordinance.

The draft ordinance text is provided as an example only. Jurisdictions should be aware that there have been legal challenges to policies that prohibit the installation of gas appliances, and while this policy is quite different, there is a risk that it could also be challenged; consultation with the city/county attorney is recommended. Ensure all ordinance materials are reviewed and verified by relevant jurisdiction staff and the city/county attorney.

# Additional Resources

- Local Ordinance Basics

- Local Energy Codes Options and Opportunities

- Single Family AC to Heat Pump (AC to HP) Cost Effectiveness Report

  - Single Family AC to HP Study Data

- SF AC to HP Model Staff Report

- SF AC to HP Model Presentation

- State Agency Adoption Resources and Submission Guidance

  - LEC Addendum to 2025 CEC Submittal Instructions

- Application Checklist (forthcoming)

# Model Ordinance

ORDINANCE AMENDING THE [CITY/COUNTY OF JURISDICTION] BUILDING CODE TO REQUIRE ENERGY CONSERVATION MEASURES FOR AIR CONDITIONER ALTERATIONS, REPLACEMENTS AND INSTALLATIONS IN EXISTING SINGLE-FAMILY BUILDINGS

DELETE ALL BLUE TEXT

## Findings

Amendments to the State Building Code require jurisdictions to make certain express findings; additional findings are required to support amendments to the State Energy Code. Refer to Guide for Local Amendments of Building Standards 2022 for more information. Required findings include:

- A declaration of the authorities granted by the State to the jurisdiction to amend the code, which include:

  - Health and Safety Code sections 17958.7 and 18941.5

  - Public Resources Code Section 25402.1(h)(2)

  - Section 10-106 of the Building Energy Efficiency Standards

- A determination that the amendments are reasonably necessary to address local climatic, geological, or topographical conditions

- A determination that the proposed standards are cost-effective and a reference to the supporting analysis

- A declaration that the jurisdiction has at a public meeting, adopted its determination that the standards are cost-effective

- A determination that the proposed standards are more stringent than the State Energy Code and that they will require buildings to be designed to consume less energy than permitted by the State Energy Code

- Any findings, determinations, declarations, or reports, including any negative declaration or environmental impact report, required pursuant to the California Environmental Quality Act

- Findings to support adoption under exceptions to Section 17958 of the Health and Safety Code (AB130).

  - As applicable, explain how the ordinance is necessary “to align with a general plan approved on or before June 10, 2025, and that permits mixed-fuel residential construction consistent with federal law while also incentivizing all-electric construction as part of an adopted greenhouse gas emissions reduction strategy.”

  - As applicable, explain how  “the changes or modifications are substantially equivalent to changes or modifications that were previously filed by the governing body of the city or county and were in effect as of September 30, 2025.”

## Sample Amendments

Chapter [cite local code section] of the [local jurisdiction municipal/county code], adoption of the 2025 California Energy Code, Title 24, Part 6, is hereby amended as follows:

1.	Section 150.2(b)1C is hereby amended to read:

C. 	Entirely new or complete replacement space-conditioning systems installed as part of an alteration, shall include all the system heating or cooling equipment, including but not limited to: condensing unit cooling or heating coil, and air handler for split systems; or complete replacement of a packaged unit; plus entirely new or replacement duct system (Section 150.2(b)1Diia). Entirely new or complete replacement space-conditioning systems shall meet the requirements of Sections 150.0(h), 150.0(i), 150.0(j)1, 150.0(j)2, 150.0(m)1 through 150.0(m)10; 150.0(m)12; 150.0(m)13, 150.1(c)7, 150.2(b)1Fii, 150.2(b)1G, and TABLE 150.2-A. Additionally, where an entirely new or complete replacement space conditioning system includes a new or replacement air-cooled air conditioner in Climate Zones 1 through 14 and 16, it shall meet the applicable requirements of Section 150.2(b)1Fiv. Where an entirely new or complete replacement space conditioning system includes a new or replacement heat pump, it shall meet the applicable requirements of Section 150.2(b)1Fv.

2.	Section 150.2(b)1F is hereby amended to read:

F.	Altered space-conditioning system - mechanical cooling. Alterations which install new or replacement air-cooled air conditioners shall meet the applicable requirements of subsections i and iv. Alterations which install new or replacement heat pumps shall meet the applicable requirements of subsections i, ii, iii, and v. All other alterations to refrigerant containing components such as the compressor, condensing coil, evaporator coil, refrigerant metering device, or refrigerant piping, shall meet the applicable requirements of subsections i, ii, and iii. When a space-conditioning system is an air conditioner or heat pump that is altered by the installation or replacement of refrigerant-containing system components such as the compressor, condensing coil, evaporator coil, refrigerant metering device or refrigerant piping, the altered system shall comply with the following requirements:

i.	All thermostats associated with the system shall be replaced with setback thermostats meeting the requirements of Section 110.2(c).

ii.	Air-cooled air conditioners in Climate Zones 2 and 8 through 15 and air-source heat pumps in all climate zones, including but not limited to ducted split systems, ducted package systems, small duct high velocity air systems, and minisplit systems, shall comply with Subsections a and b, unless the system is of a type that cannot be verified using the specified procedures. Systems that cannot comply with the requirements of 150.2(b)1Fii shall comply with Section 150.2(b)1Fiii.

Exception to Section 150.2(b)1Fii: Entirely new or complete replacement packaged systems for which the manufacturer has verified correct system refrigerant charge prior to shipment from the factory are not required to have refrigerant charge confirmed through field verification and diagnostic testing. The installer of these packaged systems shall certify on the Certificate of Installation that the packaged system was pre-charged at the factory and has not been altered in a way that would affect the charge. Ducted systems shall comply with minimum system airflow rate requirement in Section 150.2(b)1Fiia, provided that the system is of a type that can be verified using the procedure specified in RA3.3 or an approved alternative in RA1.

a.	Minimum system airflow rate shall comply with the applicable Subsection I or II below as confirmed through field verification and diagnostic testing in accordance with the procedures specified in Reference Residential Appendix Section RA3.3 or an approved alternative procedure as specified in Section RA1.

I.	Small duct high velocity systems shall demonstrate a minimum system airflow rate greater than or equal to 250 cfm per ton of nominal cooling capacity; or

II.	All other air-cooled air conditioner or air-source heat pump systems shall demonstrate a minimum system airflow rate greater than or equal to 300 cfm per ton of nominal cooling capacity; and

Exception 1 to Section 150.2(b)1Fiia: Systems unable to comply with the minimum airflow rate requirement shall demonstrate compliance using the procedures in Section RA3.3.3.1.5; and the system's thermostat shall conform to the specifications in Section 110.12.

Exception 2 to Section 150.2(b)1Fiia: Entirely new or complete replacement space conditioning systems, as specified by Section 150.2(b)1C, without zoning dampers may comply with the minimum airflow rate by meeting the applicable requirements in Tables-150.0-B or 150.0-C as confirmed by field verification and diagnostic testing in accordance with the procedures in Reference Residential Appendix Section RA3.1.4.4 and RA3.1.4.5. The design clean-filter pressure drop requirements of Section 150.0(m)12C for the system air filter device(s) shall conform to the requirements given in Tables150.0-B and 150.0-C.

b.	The installer shall charge the system according to manufacturer’s specifications. Refrigerant charge shall be verified according to one of the following options, as applicable.

I.	The installer and rater shall perform the standard charge verification procedure as specified in Reference Residential Appendix Section RA3.2.2, or an approved alternative procedure as specified in Section RA1; or

II.	The installer shall perform the weigh-in charging procedure as specified by Reference Residential Appendix Section RA3.2.3.1 provided the system is of a type that can be verified using the RA3.2.2 standard charge verification procedure and RA3.3 airflow rate verification procedure or approved alternatives in RA1. The ECC-Rater shall verify the charge using RA3.2.2 and RA3.3 or approved alternatives in RA1.

Exception 1 to Section 150.2(b)1Fiib: When the outdoor temperature is less than 55° F and the installer utilizes the weigh-in charging procedure in Reference Residential Appendix Section RA3.2.3.1to demonstrate compliance, the installer may elect to utilize the verification procedure in Reference Residential Appendix Section RA3.2.3.2. If the verification procedure in Section RA3.2.3.2 is used for compliance, the system's thermostat shall conform to the specifications in Section 110.12. Ducted systems shall comply with the minimum system airflow rate requirements in Section 150.2(b)1Fiia.

iii.	Air-cooled air conditioners in Climate Zones 2 and 8 through 15 and air-source heat pumps in all climate zones, including but not limited to ducted split systems, ducted package systems, small duct high velocity, and minisplit systems, which are of a type that cannot comply with the requirements of 150.2(b)1Fiib shall comply with subsections a and b, as applicable.

a.	The installer shall confirm the refrigerant charge using the weigh-in charging procedure specified in Reference Residential Appendix Section RA3.2.3.1, as verified by an ECC-Rater according to the procedures specified in Reference Residential Appendix RA3.2.3.2; and

b.	Systems that utilize forced air ducts shall comply with the minimum system airflow rate requirement in Section 150.2(b)1Fiia provided the system is of a type that can be verified using the procedures in Section RA3.3 or an approved alternative procedure in Section RA1.

Exception to Section 150.2(b)1Fiii: Entirely new or complete replacement packaged systems for which the manufacturer has verified correct system refrigerant charge prior to shipment from the factory are not required to have refrigerant charge confirmed through field verification and diagnostic testing. The installer of these packaged systems shall certify on the Certificate of Installation that the packaged system was pre-charged at the factory and has not been altered in a way that would affect the charge. Ducted systems shall comply with minimum system airflow rate requirement in Section 150.2(b)1Fiiib, provided that the system is of a type that can be verified using the procedure specified in Section RA3.3 or an approved alternative in Section RA1.

iv.	New or replacement air-cooled air conditioners in Climate Zones 1 through 14 and 16 shall meet the requirements of Section 150.2(b)1Fiva or 150.2(b)1Fivb.

a.	Systems with existing duct distribution systems shall meet the following requirements:

I.	In all climate zones, meet the airflow and fan efficacy requirements of Section 150.0(m)13B, 150.0(m)13C, or 150.0(m)13D.

Exception 1 to Section 150.2(b)1FivaI: Single zone central forced air systems and zonally controlled central forced air systems may demonstrate compliance with an airflow greater than or equal to 300 CFM per ton of nominal cooling capacity.

II.	In all climate zones, meet the refrigerant charge verification requirements of Section 150.2(b)1Fii; and

III.	In all climate zones, vented attics shall have insulation installed to achieve a U-factor of 0.020 or insulation installed at the ceiling level shall result in an insulated thermal resistance of R-49 or greater for the insulation alone; luminaires not rated for insulation contact must be replaced or retrofitted with a fireproof cover that allows for insulation to be installed directly over the cover; and

Exception 1 to Section 150.2(b)1FivaIII: Dwelling units with at least R-38 existing insulation installed at the ceiling level.

Exception 2 to Section 150.2(b)1FivaIII: Dwelling units where the alteration would directly cause the disturbance of asbestos unless the alteration is made in conjunction with asbestos abatement.

Exception 3 to Section 150.2(b)1FivaIII: Dwelling units with knob and tube wiring located in the vented attic.

Exception 4 to Section 150.2(b)1FivaIII: Where the accessible space in the attic is not large enough to accommodate the required R-value, the entire accessible space shall be filled with insulation provided such installation does not violate Section 806.3 of Title 24, Part 2.5.

Exception 5 to Section 150.2(b)1FivaIII: Where the attic space above the altered dwelling unit is shared with other dwelling units and the requirements of Section 150.2(b)1FivaIII are not triggered for the other dwelling units.

IV.	In all climate zones, air seal all accessible areas of the ceiling plane between the attic and the conditioned space in accordance with Section 110.7.

Exception 1 to Section 150.2(b)1FivaIV: Dwelling units with at least R-38 existing insulation installed at the ceiling level.

Exception 2 to Section 150.2(b)1FivaIV: Dwelling units where the alteration would directly cause the disturbance of asbestos unless the alteration is made in conjunction with asbestos abatement.

Exception 3 to Section 150.2(b)1FivaIV: Dwelling units with atmospherically vented space heating or water heating combustion appliances located inside the pressure boundary of the dwelling unit.

b.	Systems with entirely new or complete replacement duct systems shall meet the following:

I.	R-8 duct insulation shall be installed for all new ducts located in unconditioned space; and

II.	In all climate zones, meet the airflow requirements of Section 150.0(m)13B, 150.0(m)13C, or 150.0(m)13D and demonstrate an air-handling unit fan efficacy of less than or equal to 0.35 W/CFM.

III.	In all climate zones, meet the refrigerant charge verification requirements of Section 150.2(b)1Fii;

Exception 1 to Section 150.2(b)1Fiv: Where the capacity of the existing main electrical service panel is insufficient to supply the electrical capacity of a heat pump and where the existing main electrical service panel is sufficient to supply a new or replacement air conditioner, as calculated according to the requirements of California Electrical Code Article 220.83 or Article 220.87, systems shall comply with the applicable requirements of Sections 150.2(b)1Fi, 150.2(b)1Fii, and 150.2(b)1Fiii. Documentation of electrical load calculations in accordance with Article 220 must be submitted to the enforcement agency prior to permitting for both the heat pump and proposed air conditioner.

Exception 2 to Section 150.2(b)1Fiv: Where the required capacity of a heat pump to meet the system selection requirements of Section 150.0(h)5 is greater than or equal to 12,000 Btu/h more than the greater of the required capacity of an air conditioner to meet the design cooling load OR the capacity of the existing air conditioner, systems shall comply with the applicable requirements of Sections 150.2(b)1Fi, 150.2(b)1Fii, and 150.2(b)1Fiii. Documentation of heating and cooling load calculations in accordance with 150.0(h) must be submitted to the enforcement agency prior to permitting for both the heat pump and proposed air conditioner.

v.	In all climate zones, heat pumps with supplementary heat, including, but not limited to, electric resistance heaters or gas furnace supplementary heating, shall comply with Section 150.0(h)7 and shall lock out supplementary heating above an outdoor air temperature of no greater than 35°F.

3. Section 150.2(b)2 is hereby amended to read:

2. 	Performance approach.

The energy budget for alterations is expressed in terms of Long-term System Cost (LSC), and the altered component(s) and any newly installed equipment serving the alteration shall meet the applicable requirements of Subsections A, B, and C below.

A. The altered components shall meet the applicable requirements of Sections 110.0 through 110.9, Sections 150.0(a) through (l), Sections 150.0(m)1 through 150.0 (m)10, and Sections 150.0(p) through (q). Entirely new or complete replacement mechanical ventilation systems as these terms are used in Section 150.2(b)1L, shall comply with the requirements in Section 150.2(b)1L. Altered mechanical ventilation systems shall comply with the requirements of Section 150.2(b)1M. Entirely new or complete replacement space-conditioning systems, and entirely new or complete replacement duct systems, as these terms are used in Sections 150.2(b)1C and 150.2(b)1Diia, shall comply with the requirements of Sections 150.0(m)12 and 150.0(m)13.

B. The standard design for an altered component shall be the higher efficiency of existing conditions or the requirements stated in Table 150.2-G. For components not being altered, the standard design shall be based on the existing conditions. When the third party verification option is specified as a requirement, all components proposed for alteration for which the additional credit is taken, must be verified by a certified ECC-rater.

4. Table 150.2-G is hereby amended to read:

Table 150.2-G Standard Design for an Altered Component

| Altered Component | Standard Design Without Third Party Verification of Existing Conditions Shall be Based On | Standard Design With Third Party Verification of Existing Conditions Shall be Based On |
| --- | --- | --- |
| Ceiling Insulation, Wall Insulation, and Raised-floor Insulation | The requirements of Sections 150.0(a), (c), and (d). The requirements of Section 150.2(b)1J for altered ceilings and for entirely new or complete replacement duct systems where the air handler and ducts are located within a vented attic. The requirements of Section 150.2(b)1Fiv for alterations which include new or replacement air-cooled air conditioners. | The existing insulation R-value |
| Fenestration | The requirements of Section 150.1(c)3A. | The existing fenestration U-factor and SHGC values as verified. |
| Window Film | The requirements of Section 150.1(c)3A. | The existing fenestration in the alteration shall be based on TABLE 110.6-A and TABLE 110.6-B. |
| Doors | The U-factor of 0.20. The door area shall be the door area of the existing building. | If the proposed U-factor is < 0.20, the standard design shall be based on the existing U-factor value as verified. Otherwise, the standard design shall be based on the U-factor of 0.20. The door area shall be the door area of the existing building. |
| Space-Heating and Space-Cooling Equipment | Table 150.1-A for equipment efficiency requirements; Section 150.2(b)1C for entirely new or complete replacement systems; Section 150.2(b)1F for refrigerant charge verification, airflow, and fan efficacy requirements. Section 150.2(b)1Fiv for new or replacement air-cooled air conditioners | The existing efficiency levels. |
| Air Distribution System – Duct Sealing | The requirements of Sections 150.2(b)1D and 150.2(b)1E | The requirements of Sections 150.2(b)1D and 150.2(b)1E |
| Air Distribution System – Duct Insulation | The proposed efficiency levels. The requirements of Sections 150.2(b)1D, and for new or replacement air-cooled air conditioners, Section 150.2(b)1Fiv. | The existing efficiency levels. |
| Water Heating Systems | The requirements of Section 150.2(b)1Hii | The existing efficiency level. |
| Roofing Products | The requirements of Section 150.2(b)1I. | The requirements of Section 150.2(b)1I |
| All Other Measures | The proposed efficiency levels. | The existing efficiency levels. |

C. The proposed design shall be based on the actual values of the altered components.

## Other Sample Ordinance Sections

Section 2: CEQA

This ordinance is exempt from CEQA under 15061(b)(3) on the grounds that these standards are more stringent than the State energy standards, there are no reasonably foreseeable adverse impacts and there is no possibility that the activity in question may have a significant effect on the environment.

Section 3: Severability

If any word, phrase, sentence part, section, subsection or other portion of this amendment or any application thereof to any person or circumstance is declared void, unconstitutional, or invalid for any reason, then such word, phrase, sentence, part, section, subsection, or other portion, or the prescribed application thereof, shall be severable, and the remaining provisions of this amendment, and all applications thereof, not having been declared void, unconstitutional or invalid, shall remain in full force and effect.  The [name of governing body] hereby declares that it would have passed this amendment and each section, subsection sentence, clause and phrase of this amendment, irrespective of the fact that any one or more sections, subsection, sentences, clauses or phrases is declared invalid or unconstitutional.

Section 4: Violations

Violation of the requirements of this Chapter shall be considered an infraction of the [jurisdiction Municipal/County Code], punishable by all the sanctions prescribed in [cite local reference to infractions].

Section 5: Effective Date

This ordinance shall become effective as of [DATE], upon approval of the California Energy Commission or upon the date the California Building Standards Commission (CBSC) accepts the ordinance for filing, whichever is later.